## Slide 1: Business Continuity and Resiliency

## Slide 2: Business Continuity and Resiliency
Business Continuity represents the ability to perform essential business functions during and after adverse conditions
Ensure your internal and external applications are remaining operational during planned downtime and unplanned outages.
Focus on failure recovery, rather than on avoiding failure

## Slide 3: High Availability
High Availability is the ability of the application to continue running in a healthy state despite localized or transient failures.

## Slide 4: Disaster Recovery
Disaster Recovery is the ability to recover from major incidents such as service disruption that affect an entire region.
Ex: Order processing application

## Slide 5: Virtual Machine High Availability
Availability Set – Single Point of Failure
Availability Zone – Datacenter level Failure
Virtual Machine Scale Set - Autoscaling
Replication of VM
Multi-Region

## Slide 6: Storage Replication
LRS
ZRS
GRS
RA-GRS
GZRS
RA-GZRS

## Slide 7: Data Backup
Backup is distinct from data replication
Data replication is copying data in near real time
Point in time restore needs a data backup
Storage – Snapshots, Backup
VM – Backup in recovery services vault
App Services – Storage Account
SQL Databases – Backup in recovery services vault

## Slide 8: Identifying Requirements
Recovery Time Objective (RTO) Maximum acceptable time that an application can be unavailable after an incident.
Recovery Point Objective (RPO) Maximum duration of data loss that is acceptable during a disaster.
Mean Time to Recover (MTTR) Average time it takes to restore the application after a failure

## Slide 9: Service Level Agreement
Uptime and connectivity maintain
Obtain service credits incase SLAs are not met

## Slide 10: Estimating SLA Downtime
Ex: Web App writes the data to Azure SQL Database
Azure App Service = 99.95%
SQL Database = 99.99%
Composite SLA = 99.95% x 99.99% = 99.94%
SQL Database is unavailable, Add queue – transactions can get stored in the queue
Service Bus Queue = 99.9%
Web App AND (Database OR Queue) ~ 99.95%

## Slide 11: Application Design

## Slide 12: Failure Mode Analysis (FMA)
Process for building resiliency into an application early in the design stage.
Identify what types of failures an application might experience
Capture the potential effects and impact of each type of failures
Identify the recovery strategies

## Slide 13: Ecommerce Application
Database – High Availability, Scalability, Distributed Database, Backup, DR
Payment Gateway Failure – High Availability, Scalability
Storage Failure – Access – Rotating Keys
Data Breach - DDoS
Traffic Overload – throttling – 429 - too many request – Scalable, DDoS
Search Not working - Scalable
Login Issues – HTTP 401 unauthorized, HTTPS, SSL Certificates
Web Server – Implement Monitoring
Component Failure – Individually FMA of Component